Section 1. Applicant Information

| Business/Entity Name: |  |  | Contact Person (of business): |  |  |
| --- | --- | --- | --- | --- | --- |
| Mailing Address: |  | City: |  | State: | ZIP Code: |
| Telephone Number: | Fax Number (optional): | E-Mail Address: |  |  |  |
| Application Type: New Renewal – Permit No.: ______________ |  |  |  |  |  |

Section 2. Load Contaminants

Contaminants - items totally prohibited. No person shall dump or cause to be dumped any of the following described waters or wastes to the Lake Poinsett Sanitary District’s evaporation pond, or lagoon, located on 197th Street: - Any gasoline, benzene, naphtha, fuel oil, or other flammable or explosive liquid, solid, or gas. - Any waters or wastes containing toxic or poisonous solids, liquids, or gasses in sufficient quantity, either singly or by interaction with other wastes, to injure or interfere with any sewage treatment process, constitute a hazard to humans or animals, create a public nuisance, or create any hazard in the receiving waters of the evaporation pond, or lagoon, including but not limited to cyanides in excess of two (2) milligrams per liter as CN in the wastes as dumped to the District’s evaporation pond or lagoon. - Any waters or wastes having a pH lower than 5.5 or having any other corrosive property capable of causing damage or hazard to structures, equipment, and personal of the Lake Poinsett Sanitary District. - Any solid or viscous substances in quantities or of such size capable of causing interference with the proper operation of the evaporation pond or lagoon such as, but not limited to ashes, cinders, sand, mud, straw, shavings, metal, glass, rags, feathers, tar, plastics, wood, underground garbage, whole blood, paunch manure, hair and fleshing’s, end trails and paper dishes, cups, milk containers, etc., either whole or ground by garbage grinders. - The Board of Trustees of the Lake Poinsett Sanitary District, or their employees, reserve the right to further prohibit specifically designated and described substances, materials, waters, or wastes if it appears likely in the opinion of the Board, or a LPSD employee, that such wastes can harm the evaporation pond or lagoon, any sewage treatment process, or equipment, or can otherwise endanger life, limb, public property or constitute a nuisance.

By initialing this box you acknowledge that you have read the box above regarding Contaminants and you further acknowledge that you understand and agree not to dump any of the listed contaminants into the LPSD Lagoon:

By initialing this box you acknowledge that you have read, understand, and agree to abide by Resolution 2021-12-11-2 and the Policy Governing the Use and Discharge into the Lake Poinsett Sanitary District Lagoon and to Provide for the Need of an Application and Permit, including the fee of $35 per load, the $1,000 fine and that the permit, if approved, must be in your possession to dump:

Applicant Signature:______________________________ Date: ______________